Introduction:

The *acpcdetect* program is a module of the Automatic Registration Toolbox (ART). The program takes a 3D T1-weighted structural MRI of the human brain as input. It automatically detects the mid-sagittal plane (MSP) using the method described in [1]. It then detects the AC and PC intersection points on the MSP using the method described in [2]. Finally, it detects an additional 8 landmarks[[1]](#footnote-1) (the so-called Orion landmarks) on the MSP using the method described in [3]. The obtained information is used to tilt-correct the input volume into a standard orientation. In this orientation: (1) the MSP is precisely aligned with the central plane of the FOV; (2) the anterior-posterior (AP) axis is on the MSP and aligned with the AC-PC line; (3) the inferior-superior (IS) axis is on the MSP and perpendicular to the AC-PC line; (4) the left-right (LR) axis is perpendicular to the MSP; and (5) the FOV center is approximately the mid-point between the AC and the PC on the MSP. The FOV center can alternatively be placed on the AC point using the *--center-AC* option.

Optional arguments:

-v (--verbose): Enables verbose mode

1. Actually, one of the 8 Orion landmarks happens to be very close to the AC. [↑](#footnote-ref-1)